## Summary
Savings/(Increase)
ID # | Title | kW | kWh | $ | Therms | $ | Mgal | $ | Total $
Total

## Info Checklist
Information Checklist
Building Info |  |  | Building List |  |  | Enery Utilities | [6 empty] | Typical Weekly Occupied Schedule
|  |  | Animal Shelter | Hotel |  | Natural Gas | [5 empty] | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Building Type | Office |  | Apartment | Jail |  | Therms | Cost |  | $/Therm |  | Start |  | 8:00 | 8:00 | 8:00 | 8:00 | 8:00 | 8:00
Building SF | 501120 |  | Art Gallery | Laboratory | Existing Annual Fuel Consumption | 7246 |  | OR |  |  | Stop |  | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 13:00
Location |  |  | Auditorium | Library |  | 2017 NGas useage data
Zipcode | 90650 |  | Bank | Light Manufacturing |  | Fuel Oil Delivery |  |  |  | Heating | Month
OR City |  |  | Church | Office |  | Gal | Cost |  | $/Gal | Start (beginning of)
Number of Occupants |  |  | College | Post Office | Existing Annual Fuel Consumption |  |  | OR |  | Stop (end of)
OR % Occupancy | 90% |  | Courthouse | Restaurant
|  |  | Day Care | Retail |  | Electricity |  |  | Gross Avg | Cooling | Month
Personnel Activity | Passive | Passive; 350 Btuh/person | Dormitory | School |  | kWh | Cost |  | $/kWh | Start (beginning of) | Jan
|  | Active; 650 Btuh/person | Gymnasium | Theater | Existing Annual Electricity Consumption | 9948942 | 1272807 | OR | 0.12793 | Stop (end of) | Dec
Weather Location | CZ08 | El Toro/Fullerton, CA | Nusing Home | Warehouse |  |  | NOTE: Total cost above = both kWh + kW charges, plus UUT tax etc.
|  |  | Multi-Family | Wholesale |  | kW1 | Cost2 |  | $/kW
|  |  | Hospital |  | Existing Annual Electricity Demand | 19744 | 570209 | OR | 28.8801
[5 empty] | 1 | Total kW for 12 months | Total Demand charges plus UUT (5.5%)
[5 empty] | 2 | Total kW charges for 12 months
Propane
[6 empty] | Gal | Cost |  | $/Gal
[5 empty] | Existing Annual Fuel Consumption |  |  | OR
District Heating
[6 empty] | MLb | Cost |  | $/MLb
[5 empty] | Existing Annual Fuel Consumption |  |  | OR
District Cooling
[6 empty] | Day-Tons | Cost |  | $/Day-Ton
[5 empty] | Existing Annual Fuel Consumption |  |  | OR

## Lighting Upgrade
Retrofit Location: |  |  | Example
Electric Rate: | $/kWh |  |  | Fixture Type | Fixture | Fixture Watts
Demand Rate: | $/kW |  | Incandescent | Incandescent | 25W | 25W
|  |  | CFL | Spiral CFL | 30W (bulb only) | 33W
|  |  | HID | Metal Halide | 400W | 455W
|  |  | LED | LED Troffer |  | 12W
|  |  | 2X4 4L T8 Troffer | Four Foot T8 | 4L4'T8/EB | 112W
|  |  | 1X4 1L T12 Strip | Four Foot T12 | 1L4'STD/EB | 46W
|  | Existing Fixture Conditions |  |  |  |  | Proposed Lighting Conditions
| Location/ID | Fixture Qty | Fixture Type | Fixture (incl. # of lamps, Ballast Type) | Fixture Watts | Annual On-Hours | Fixture Qty | Fixture Type | Fixture | Fixture Watts | Sensor(Y/N) | Annual On-Hours

## Cooling Equip Upgrade
Cooling Equipment Efficiency Upgrade
Existing Cooling Equipment |  |  | Proposed Cooling Equipment
2 Carrier 19XR Chillers - Constant Speed |  | D/X, Chiller, District Cooling | 2 Chillers - MagLev Variable Speed |  | D/X, Chiller, District Cooling
Total Connected Tons: | 1100 |  | Total Connected Tons: | 1100
Assumed Design Tons: | 1100 |  | Assumed Design Tons: | 1100
Area
Cooling Assumptions |  |  |  | SqFt
Sensible Heat Ratio: |  | i.e., 60%, 70%, 80%, etc. |  | 501120
Design IAT: |  |  | Auxiliary Equipment (if applicable)
Existing Occupied IAT | 72 |  |  | kW/Ton
Existing Unoccupied IAT | 78 |  | Condenser Pumps | 75HP x 2
Proposed Occupied IAT | 72 |  | Cooling Tower/Condenser Fans | 20HP x 2
Proposed Unoccupied IAT | 78 |  | Chilled Water Pumps | 50HP x 2
|  |  | Total Auxiliary | 20HP x 4
| Existing Efficacy |  | Proposed Efficacy
Carrier 19XR | 0.58 | kW/Ton |  | kW/Ton
Cooling Equip | 7.4 | IPLV | Cooling Equip
Existing |  |  | Proposed
Electricity Cost | 0.12793 | per kWh (w/Demand) | Electricity Cost |  | per kWh (w/Demand)
| OR |  |  | OR
Electricity Cost |  | per kWh (w/o Demand) | Electricity Cost |  | per kWh (w/o Demand)
Electric Demand Cost |  | per kW | Electric Demand Cost |  | per kW

## Upgrade to VFD Chiller
Cooling Equipment Upgrade to Chiller w/VFD
Existing Cooling Equipment |  |  | Proposed Cooling Equipment
|  | D/X, Chiller, District Cooling |  | VFD Chiller
Total Connected Tons: |  |  |  | Total Connected Tons:
Assumed Design Tons: |  |  |  | Assumed Design Tons:
Area
Cooling Assumptions |  |  |  | SqFt
Sensible Heat Ratio: |  | i.e., 60%, 70%, 80%, etc.
Design IAT: |  |  | Chiller Efficacy Curve Points
| Existing Occupied IAT |  |  | w/o VFD | w/ VFD
| Existing Unoccupied IAT |  | % Load | kW/Ton | kW/Ton
| Proposed Occupied IAT |  | 30%
| Proposed Unoccupied IAT |  | 70%
100%
Existing |  |  |  | Proposed
Electricity Cost |  | per kWh (w/Demand) |  | Electricity Cost |  | per kWh (w/Demand)
| OR |  |  |  | OR
Electricity Cost |  | per kWh (w/o Demand) |  | Electricity Cost |  | per kWh (w/o Demand)
Electric Demand Cost |  | per kW |  | Electric Demand Cost |  | per kW

## Setback Control
COOLING |  |  |  |  | HEATING
Existing Cooling Equipment |  |  |  | Existing Fuel Type
| D/X, Chiller, District Cooling |  |  |  | {Oil, Gas, Propane, Electricity, District Heat}
|  |  | Select Oil Type: |  | {Oil: #1; #2; #4; #6}
| Tons |  |  |  | MBh
Totals for Zones Under Control |  |  |  | Totals for Zones Under Control
Design Load Factor |  |  |  | Plant Efficiency: |  | %
kW/ton |  |  |  | Design Load Factor |  | %
OR
EER
Design OAT:
Sensible Heat Ratio: |  | i.e., 60%, 70%, 80%, etc. |  | Design IAT:
Existing Occupied IAT
Design IAT: |  |  |  | Existing Unoccupied IAT
Existing Occupied IAT |  |  |  | Proposed Occupied IAT
Existing Unoccupied IAT |  |  |  | Proposed Unoccupied IAT
Proposed Occupied IAT
Proposed Unoccupied IAT

## Pump VFD
Hot Water Pump VFD |  |  |  |  | Chilled Water Pump VFD |  |  |  |  | Load Profile Water Pump VFD
| IAT Setpoints |  |  |  |  | IAT Setpoints |  |  |  |  | Pump Data
Occupied |  |  | Design IAT: |  | Occupied |  |  | Design IAT: |  | Nameplate | Existing | Proposed
Unoccupied |  |  | Unoccupied Internal Load %: |  | Unoccupied |  |  | Unoccupied Internal Load %: |  | HP
GPM
| Pump Data |  | Zone Data |  |  | Pump Data |  | Zone Data |  | TDH; ft.:
Nameplate | Existing | Proposed |  | Heating | Nameplate | Existing | Proposed |  | Cooling | Motor Efficiency %
HP |  |  | SqFt | Total MBh | HP |  |  | SqFt | Total Tons | Qty Installed
GPM |  |  |  |  | GPM |  |  |  |  | Qty Active
TDH; ft.: |  |  |  |  | TDH; ft.: |  |  |  |  | Pump Efficiency %
Motor Efficiency % |  |  |  |  | Motor Efficiency % |  |  |  |  | N/P Amps
Qty Installed |  |  |  |  | Qty Installed |  |  |  |  | Measured Amps
Qty Active |  |  |  |  | Qty Active |  |  |  |  | Amps Load Factor %
Pump Efficiency % |  |  |  |  | Pump Efficiency % |  |  |  |  | Largest Pipe Dia. (in)
N/P Amps |  |  |  |  | N/P Amps
Measured Amps |  |  |  |  | Measured Amps |  |  |  |  | Estimated Overall Pipe Length
Amps Load Factor % |  |  |  |  | Amps Load Factor % | [5 empty] | Existing | Proposed
Largest Pipe Dia. (in) |  |  |  |  | Largest Pipe Dia. (in)
Static Head
Estimated Overall Pipe Length |  |  |  |  | Estimated Overall Pipe Length |  |  |  |  | Existing | Proposed
| Existing | Proposed |  |  |  | Existing | Proposed |  |  |  |  | Ft artificial head; (balancing valve, throttled valve, etc.)
Ft assumed End-Use Equipment (coil, HEX, etc.)
Ft assumed HW Generator (boiler, HEX, etc.)
Static Head |  |  |  |  | Static Head
Existing | Proposed |  |  |  | Existing | Proposed |  |  |  |  | Annual Operating Hours
|  | Ft artificial head; (balancing valve, throttled valve, etc.) |  |  |  |  | Ft artificial head; (balancing valve, throttled valve, etc.)
|  | Ft assumed End-Use Equipment (coil, HEX, etc.) |  |  |  |  | Ft assumed End-Use Equipment (coil, HEX, etc.) |  |  |  | % Load | % Hours
|  | Ft assumed HW Generator (boiler, HEX, etc.) |  |  |  |  | Ft assumed HW Generator (boiler, HEX, etc.)
|  | Minimum Occupied % Flow |  |  |  |  | Minimum Occupied % Flow
|  | Minimum Unoccupied % Flow |  |  |  |  | Minimum Unoccupied % Flow
[12 empty] | 0% | Must = 100%

## Fan Mech VAV to VFD
Fan VAV to VFD
Must Include the Building Input Form
Must Include Utility Billing History Form
Fan List | Design Data |  |  |  |  | Measured |  | Assumed |  | Proposed
Equip ID | Fan Type1 | Flow Control2 | CFM | SP | Motor HP | Amps | N/P Amps | Mech. Eff. | Motor Eff. | Motor Eff.
| 1 | 2
| AF or BI | Throttled |  | Static Pressure
| FC | VIV
| Vane-Axial | Variable Pitch
|  | Existing |  |  |  | Existing
|  | Occupied | Unoccupied |  |  | Occupied | Unoccupied
| Winter IAT: |  |  |  | Summer IAT:

## DCV
Demand Controlled Ventilation
Heating
Existing Fuel Type |  |  |  |  | Baseline Occupied Schedule
Select Oil Type: |  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
| Cooling |  | Start
Existing Cooling Type |  |  | Stop
Assumed AHU CFM:
Occupied Schedule B
Assumed % OA CFM: |  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Cooling Efficacy: |  | kWh/Ton-Hr | Start
Combustion Efficiency: |  | % | Stop
|  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Sched # | Occupancy %: |  | Start
B |  |  | Stop
C
D |  |  |  |  | Occupied Schedule C
|  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Start
Stop
|  | Existing |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
| Scheduled Unoccupied Period % OA CFM: |  | Start
Stop
Heating | Month
Start (beginning of) |  |  |  |  | Occupied Schedule D
Stop (end of) |  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Start
Cooling | Month |  | Stop
Start (beginning of) |  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Stop (end of) |  |  | Start
Stop

## Dry Bulb Economizer
Economizer Controls; Dry Bulb
Variable Speed Chiller |  | D/X, Chiller, District Cooling
Total Connected Tons: | 1100
Assumed Design Tons: | 1100
Economizer Temp:
55
Cooling Assumptions
Sensible Heat Ratio: |  | i.e., 60%, 70%, 80%, etc.
Design IAT: | 72
| Existing Occupied IAT | 72 |  | Area Assumptions
| Existing Unoccupied IAT | 78 |  | SqFt
| Proposed Occupied IAT | 72 |  | 501120
| Proposed Unoccupied IAT | 78
Existing Efficacy
kW/Ton
| Cooling Equip | 0.58
Existing
Electricity Cost | 0.12793 | per kWh (w/Demand)
OR
Electricity Cost |  | per kWh (w/o Demand)
Electric Demand Cost |  | per kW
Unoccupied Internal Load:

## Heat Pumps
Air-Source Heat Pump Upgrades
Existing |  |  | Qty. of Units | 2 |  | Mitsubishi #MUZA-17NA
H/P Cooling Btuh Capacity: |  |  | 16200 |  |  |  | Heating | Cooling
H/P Backup Heater kW: |  |  | 3.5453 |  | Heat Pump EER*: |  |  | 7.8431
H/P Heating Btuh: |  |  | 12100 |  | H/P Elec. Input kW: |  | 1.62
| Heat Pump Performance Table |  |  | Magic-Pak #10PWC182 |  |  |  | * Equivalent COP:
OAT | -15 | 0 | 17 | 35 | 47 | 62 |  | 2.1884
Btuh | 4100 |  | 12100 |  | 20100
kW | 1.09 |  | 1.62 |  | 2.15
COP | 1.1021 |  | 2.1884 |  | 2.7392
Proposed |  |  | Qty. of Units | 2
H/P Cooling Btuh Capacity: |  |  | 16200 |  |  |  | Heating | Cooling
H/P Backup Heater kW: |  |  | 3.5453 |  | Heat Pump EER*: |  |  | 7.8431
H/P Heating Btuh: |  |  | 12100 |  | H/P Elec. Input kW: |  | 1.62
| Heat Pump Performance Table |  |  | Magic-Pak #10PWC182 |  |  |  | * Equivalent COP:
OAT | -15 | 0 | 17 | 35 | 47 | 62 |  | 2.1884
Btuh | 4100 |  | 12100 |  | 20100
kW | 1.09 |  | 1.62 |  | 2.15
COP | 1.1021 |  | 2.1884 |  | 2.7392
Design IAT:
|  | Existing Occupied IAT |  |  |  |  | Unoccupied
|  | Existing Unoccupied IAT |  |  |  |  | 72
Proposed Occupied IAT
|  | Proposed Unoccupied IAT |  |  |  |  | 0